# PROCESS FLOW : PREPARATION OF STOCK SOLUTIONS

A1. GREEN TRACE ELEMENT STOCK (1 L)

MnCl₂·4H₂O – 41 mg

ZnCl₂ – 5 mg

CoCl₂·6H₂O – 2 mg

Na₂MoO₄·2H₂O – 4 mg

Flow:

Weigh → Add to ~800 mL DI Water → Mix → Make to 1 L → Sterilize → Label → Store

Use: 18 mL per 1 L Green Medium

A2. VITAMIN STOCK (500 mL)

Vitamin B12 – 25 mg

Biotin – 100 mg

Thiamine HCl – 500 mg

Flow:

Weigh → Add to ~400 mL DI Water → Dissolve → Make to 500 mL → 0.22 µm Filter → Label → Store (Dark)

Use: 2 mL per 1 L Green Medium

A3. FERRIC CITRATE STOCK (500 mL)

Ferric Citrate – 2.35 g

Flow:

Weigh → Add to ~400 mL DI Water → Mix → Make to 500 mL → Sterilize → Label → Store

Use: 0.94 mL per 1 L Green Medium

A4. SODIUM NITRATE STOCK (100 mL)

NaNO₃ – 24.67 g

Flow:

Weigh → Add to ~80 mL DI Water → Dissolve → Make to 100 mL → Sterilize → Label → Store

Use: 9.48 mL per 1 L Green Medium

A5. PHOSPHATE BUFFER STOCK (100 mL)

K₂HPO₄ – 4.535 g

KH₂PO₄ – 3.58 g

Flow:

Weigh → Add to ~80 mL DI Water → Dissolve → Make to 100 mL → Sterilize → Label → Store

Use: 4.4 mL per 1 L Green Medium

A6. A5M TRACE STOCK (1 L)

H₃BO₃ – 2.85 mg

MnCl₂·4H₂O – 1.81 mg

ZnSO₄·7H₂O – 0.2 mg

CuSO₄·5H₂O – 79 mg

MoO₃ – 15 mg

Flow:

Weigh → Add to ~800 mL DI Water → Dissolve → Make to 1 L → Sterilize → Label → Store

Use: 1 mL per 1 L BG-11 Red

A7. RED BG-11 MAJOR STOCKS (Each 100 mL)

- Ca(NO₃)₂ – 1 g

- FAC – 600 mg

- EDTA – 1 g

- Na₂CO₃ – 1 g

- Citric Acid – 600 mg

- Vitamin B1 – 100 mg

Flow:

Weigh → Add to ~80 mL DI Water → Dissolve → Make to 100 mL → Sterilize → Label → Store

Use: 1 mL per 1 L BG-11 Red

# PROCESS FLOW CHART – PREPARATION OF MAIN MEDIUM

B) GREEN MEDIUM (1L)

Add ~800 mL DI water to a clean vessel.

Weigh and dissolve (direct addition):

CaCl₂ = 75 mg

MgSO₄·7H₂O = 225 mg

NaCl = 75 mg

Add stocks:

Trace stock: 18 mL (A1)

Vitamin stock: 2 mL (A2)

Ferric citrate stock: 0.94 mL (A3)

NaNO₃ stock: 9.48 mL (A4)

Phosphate buffer stock: 4.4 mL (A5)

Top up with DI water to 1.000 L.

Mix well.

Sterilization: Autoclave the base salt solution + water

Add vitamin/trace/Ferric Citrate stocks after cooling via sterile filter additions

C) RED MEDIUM BG-11 (1L)

Add ~800 mL DI water to vessel.

Weigh and dissolve (direct addition):

CaCl₂ = 100 mg

MgSO₄ = 200 mg

Add stocks:

A5M stock: 1 mL (A6)

Ca(NO₃)₂ stock: 1 mL (A7-I)

FAC  stock: 1 mL (A7-II)

EDTA stock: 1 mL(A7-III)

Na₂CO₃ stock: 1 mL(A7-IV)

Citric acid stock: 1 mL(A7-V)

Vitamin B1 stock: 1 mL(A7-VI)

Top up with DI water to 1.000 L.

Mix Well.

Sterilize: Prefer to filter-sterilize final if feasible

Or autoclave base salts and add vitamin/ (EDTA)chelators by sterile filtration after cooling.

D) Make FINAL FORMULATION V (75% Green + 25% BG-11 Red)

Example: 10 L final medium

Green Medium: 7.5 L

Red Medium: 2.5 L

Mix aseptically in a sterile tank.

E) Scaling rule

For any final volume V (L):

Green Medium volume = 0.75 × V

BG-11 Red volume = 0.25 × V

F) Practical controls

Use RO water

Label every stock with name, concentration, date, prepared by, expiry

Maintain sterile technique

Record batch number linkage.

MASTER FLOW (APPLICABLE TO ALL STOCK SOLUTIONS)

START

↓

Verify Stock Name & Target Volume

↓

Check Chemical Identity, Weight & Expiry

↓

Clean & Label Container

↓

Add ~80% DI / RO Water

↓

Add Weighed Chemicals

↓

Mix Until Fully Dissolved

↓

Make Up to Final Volume

↓

Sterilization

(Autoclave as specified)

↓

Final Labelling & Documentation

↓

Storage (2–8 °C / RT as per SOP)

↓

END

A1. GREEN TRACE ELEMENT STOCK (1 L)

START

↓

Weigh Trace Elements

(MnCl₂·4H₂O, ZnCl₂, CoCl₂·6H₂O, Na₂MoO₄·2H₂O)

↓

Add to ~800 mL DI Water

↓

Mix Until Completely Dissolved

↓

Make Volume to 1 L

↓

Sterilization

↓

Label: "Green Trace Stock – 1 L"

↓

Store at 2–8 °C

↓

END

A2. VITAMIN STOCK (500 mL)

START

↓

Weigh Vitamins

(Vitamin B12, Biotin, Thiamine HCl)

↓

Add to ~400 mL DI Water

↓

Dissolve (Protect from Light)

↓

Make Volume to 500 mL

↓

Sterilization

(DO NOT autoclave)

↓

Label: "Vitamin Stock – 500 mL"

↓

Store at 2–8 °C (Dark)

↓

END

A3. FERRIC CITRATE STOCK (500 mL)

START

↓

Weigh Ferric Citrate

↓

Add to ~400 mL DI Water

↓

Mix Until Fully Dissolved

↓

Make Volume to 500 mL

↓

Sterilization

↓

Label: "Ferric Citrate Stock – 500 mL"

↓

Store (RT / 2–8 °C)

↓

END

A4. SODIUM NITRATE STOCK (100 mL)

START

↓

Weigh Sodium Nitrate (NaNO₃)

↓

Add to ~80 mL DI Water

↓

Dissolve Completely

↓

Make Volume to 100 mL

↓

Sterilization

(Autoclave allowed)

↓

Label: "NaNO₃ Stock – 100 mL"

↓

Store at RT

↓

END

A5. PHOSPHATE BUFFER STOCK (100 mL)

START

↓

Weigh K₂HPO₄ & KH₂PO₄

↓

Add to ~80 mL DI Water

↓

Mix Until Dissolved

↓

Make Volume to 100 mL

↓

Sterilization ( Autoclave)

↓

Label: "Phosphate Buffer Stock – 100 mL"

↓

Store at RT

↓

END

A6. A5M TRACE STOCK (1 L) (RED)

START

↓

Weigh A5M Trace Chemicals

(H₃BO₃, MnCl₂·4H₂O, ZnSO₄·7H₂O,

CuSO₄·5H₂O, MoO₃)

↓

Add to ~800 mL DI Water

↓

Mix Until Fully Dissolved

↓

Make Volume to 1 L

↓

Sterilization

↓

Label: "A5M Trace Stock – 1 L"

↓

Store at 2–8 °C

↓

END

A7. BG-11 MAJOR STOCKS (Each 100 mL)

START

↓

Weigh Individual Chemical in separate containers

(Ca(NO₃)₂ / FAC / EDTA / Na₂CO₃ /

Citric Acid / Vitamin B1)

↓

Add to ~80 mL DI Water

↓

Dissolve Completely

↓

Make Volume to 100 mL

↓

Sterilization

(Vitamins must be filtered)

↓

Label with Chemical Name & Strength

↓

Store (Vitamins protected from light)

↓

END

B) GREEN MEDIUM PREPARATION (1 L)

With QC Checkpoints (pH, Clarity, Sterility)

START

↓

Take Clean, Labelled Vessel

↓

Add ~800 mL DI / RO Water

↓

Weigh & Add Base Salts (Direct Addition)

• CaCl₂ – 75 mg

• MgSO₄·7H₂O – 225 mg

• NaCl – 75 mg

↓

Mix Until Fully Dissolved

↓

QC CHECKPOINT – 1 (Pre-Sterilization)

• Clarity: Clear / No precipitate

↓

Sterilize Base Salt Solution

• Autoclave (base salts + water only)

↓

Cool to Room Temperature

↓

Aseptically Add Sterile Stocks (via filter)

• Trace stock – 18 mL (A1)

• Vitamin stock – 2 mL (A2)

• Ferric citrate stock – 0.94 mL (A3)

• NaNO₃ stock – 9.48 mL (A4)

• Phosphate buffer – 4.4 mL (A5)

↓

Top Up with DI / RO Water to 1.000 L

↓

Mix Well

↓

QC CHECKPOINT – 2 (Final Green Medium)

• pH: As per specification

• Clarity: Clear / No precipitation

• Sterility: By aseptic process / periodic sterility test

↓

GREEN MEDIUM RELEASED

C) RED MEDIUM (BG-11 RED) PREPARATION (1 L)

START

↓

Take Clean, Labelled Vessel

↓

Add ~800 mL DI / RO Water

↓

Weigh & Add Base Salts

• CaCl₂ – 100 mg

• MgSO₄ – 200 mg

↓

Mix Until Fully Dissolved

↓

QC CHECKPOINT – 3 (Pre-Sterilization)

• Clarity: Clear / No precipitate

↓

Sterilization Decision

├─ Option 1 (Preferred):

│     Filter-sterilize final medium (0.22 µm)

│

└─ Option 2:

Autoclave base salts + water

Cool to room temperature

↓

Aseptically Add Sterile Stocks

• A5M stock – 1 mL (A6)

• Ca(NO₃)₂ stock – 1 mL (A7-I)

• FAC stock – 1 mL (A7-II)

• EDTA stock – 1 mL (A7-III)

• Na₂CO₃ stock – 1 mL (A7-IV)

• Citric acid stock – 1 mL (A7-V)

• Vitamin B1 stock – 1 mL (A7-VI)

↓

Top Up with DI / RO Water to 1.000 L

↓

Mix Well

↓

QC CHECKPOINT – 4 (Final Red Medium)

• pH: As per BG-11 Red specification

• Clarity: Clear / No precipitation

• Sterility: By filtration or validated autoclave cycle

↓

RED MEDIUM RELEASED

D) FINAL FORMULATION PREPARATION

(75% Green + 25% BG-11 Red)

START

↓

Confirm Final Volume (V L)

↓

Calculate Volumes

• Green Medium = 0.75 × V

• Red Medium   = 0.25 × V

↓

Transfer Required Volume of Green Medium

↓

Transfer Required Volume of Red Medium

↓

Mix Aseptically in Sterile Tank

↓

QC CHECKPOINT – 5 (Final Medium)

• pH: Within final formulation limits

• Clarity: Clear, homogeneous

• Sterility: Process-based assurance / periodic test

↓

FINAL FORMULATION  RELEASED

E) QC SUMMARY TABLE

| Stage | QC Check | Purpose |
| --- | --- | --- |
| Pre-sterilization | Clarity | Detect precipitation / solubility issues |
| Post-stock addition | pH, Clarity | Confirm formulation accuracy |
| Post-sterilization | Sterility | Contamination control |
| Final formulation | pH, Clarity, Sterility | Release decision |

F) PRACTICAL CONTROLS (APPLIES TO ALL STEPS)

• Use RO / DI water only

• Maintain aseptic technique throughout

• Label all stocks with:

– Name

– Concentration

– Date

– Prepared by

– Expiry

• Record batch number linkage in BMR / ERP

ONE-LINE FLOW (FOR ERP)

Green Medium (QC1, QC2) → Red Medium (QC3, QC4) → Final Mix (QC5)